|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Device and Manufacturer | Picture | Anterior or Posterior | Uses | Features | Drawbacks | CostBase price |
| 2-Wheeled Kaye WalkerKaye Products Inc. | http://kayeproducts.com/2-wheeled-walkers/ | Anterior or posterior | -Can be used as a simple frame or additions for increased support are available.-Useful to conserve energy and improve alignment-Used for patients who can bear weight through LR | -The device is foldable-6 sizes available, accommodating adults up to 250lbs-Many additions available to customized device-Seat option available | -Does not come with “all-terrain” tires-Kit required to change some models from anterior to posterior | Small child $220.10Large$339.83 |
| 4-Wheeled Kaye WalkerKaye Products Inc. | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Masters:2015:01:15:20150115-180717:SAM_1454.JPG | Anterior or posterior | -Can be used as a simple frame or additions for increased support available.-Useful to conserve energy and improve alignment-Improved velocity and cadence as patients roll with movement | -Foldable with various additions available to customize device-Maximum weight capacity of 250lbs depending on frame chosen-Wider frame options available-Options available with seat | -Does not come with “all-terrain” tires-Kit required to change some models from anterior to posterior facing walkers | Small child $262.20Large$381.97 |
| Kaye Anterior Support WalkerKaye Products Inc. | http://kayeproducts.com/kaye-anterior-support-walkers/ | Anterior | -Useful for patients who require additional balance support but can bear weight through legs-Developed for patients with spasticity, athetosis or ataxia | -Three sizes available-Foldable, comes with side cushions-Wheels can be set to prevent swivel or rolling backwards-Models with forearm supports available in 4 sizes | -Not easily adjusted for less support | X-small $460.24Large $501.99 |
| Yogi Gait TrainerOttobock | http://www.ottobock.com/cps/rde/xchg/ob\_com\_en/hs.xsl/1377.html | Anterior | -Basic 4-wheeled anterior gait trainer-Aluminum | -Lightweight and foldable-Steerable front wheels that can be locked to remove swivel-Two sizes available-A seat can be added | -Cannot be adapted to be significantly more supportive-The light weight may not be stable enough for more involved patients | Size 1: $1,019Size 2: $1,137 |
| Walk StarOttobock | http://www.ottobock.com/cps/rde/xchg/ob\_com\_en/hs.xsl/1377.html | Posterior | -Basic 4-wheeled posterior gait trainer-Aluminum- Can be adjusted for height and can grow | -Lightweight and foldable-Steerable front wheels can be added but are not standard.-Wheels can be locked to remove swivel-A seat can be added-Smallest size accommodates a toddler | -Cannot be adapted to be significantly more supportive-The light weight may not be stable enough for more involved patients-Sizing information only available in German online. | Size ½ $1,442Size 4 $1,591 |
| Anterior Safety RollerDrive Medical | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Masters:2015:01:15:20150115-180717:SAM_1463.JPG | Anterior but there is also a posterior version | -Can be used as a simple walker or can have minor adjustments added for increase stability | -Many options for growth and 8 sizes with the largest pediatric size accommodating 400lbs and bariatric adult sizes accommodating 1000lbs-Some frames have adjustable width-Pushing down on the frame activates the break-Wheels can be used for indoor or outdoor-Foldable for easy transport | -Few adjustments for increased stability available-Cannot switch from anterior to posterior support | Tyke: $2901000 XL: $380 |
| Glider WalkerDrive Medical | http://www.drivemedical.com/index.php/glider-walker-861.html | Anterior | -Basic anterior, 2- wheeled walker with option for platform attachments but no other additions. | -Lightweight and available in three sizes.-Adjustable handles that can be rotated inward-Height adjustable | -Maximum weight capacity of 175lbs-Does not fold-Cannot be adjusted for more support | ~$168 |
| Kaye Suspension Walker | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Previews:2015:01:15:20150115-180717:7zt2P6pxT5C9yvZeGMO8uQ:SAM_1456.jpg | Anterior | -Suspension reduces the amount of weight bearing through LE-Four | -Four sizes available-Wheels can be locked to prevent swivel-Can be used in partial or full weight bearing-Device can fit over treadmills with an adapter | -Must be used with a harness that must be purchased separately-Largest harness size accommodates up to 200lbs | Suspension system without harness small: $1,396.50Large: $1,953 |
| CrocodileSnug Seat | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Masters:2015:01:15:20150115-180717:SAM_1458.JPG | Posterior | -Useful as a basic posterior gait trainer or as a more supportive option | -Can be adjusted to allow for increased support-Available in 3 sizes-Foldable, easily adjustable-On/off anti-reverse wheel stops | -Max weight of 176.25lbs | Size1: $725Size3: $1,195 |
| GatorSnug Seat | http://www.snugseat.com/products/walking/gator/c-23/c-72/p-208/?sku=49183 | Posterior | -Can be used as a basic posterior gait trainer or as a more supportive option-Heavier than a Crocodile | - Increased weight means increased stability-Easily removable accessories-Foldable | -Only available in one size with a max weight of 70.5lbs-Fewer additions available | $450 |
| Nurmi NeoOttobock | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Previews:2015:01:15:20150115-180717:%I7eX+37TniG5hwxmgy1TQ:SAM_1459.jpg | Posterior | -Can be used as a simple frame, posterior gait trainer | -Foldable-Lightweight-Wheels can be adjusted to prevent rolling backward-Many accessories available and can be grown with child | -Information online regarding size is currently only available in German-Some adjustments available to increase stability but cannot be changed to a highly supportive device | Size 1: $587Size 3: $624 |
| Trekker Gait TrainerDrive Medical | http://www.drivemedical.com/index.php/trekker-gait-trainers-838.html | Anterior or Posterior | -Can be adjusted to be more supportive or can be used with the simple fame and handles for less support | -Comes in three sizes- the largest accommodates 200lbs- The device height can be easily adjusted-All accessories can be added or removed easily without tools-Swivel casters can be locked and the resistance can be altered | -Costly if using without additional support-Not available in adult sizing | Tyke~ $775\*Youth~ $1,320\* |
| PacerRifton | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Masters:2015:01:15:20150115-180717:SAM_1462.JPG | Anterior or Posterior | -Can be used as a simple frame with handles or with additions for support-Wheels can be adjusted for drag, direction control, swivel lock and breaks | -Comes in 5 sizes allowing accommodation of up to 275lbs-Many additions available and prompts can be attached in many places on the frame.-Larger sizes are foldable-Easy to adjust | -The smaller sizes do not fold-Accessories must be added on for the device to be used | Mini frame: $635-XL size: $2,225 |
| Luminator gait trainerDrive Medical | http://www.drivemedical.com/index.php/luminator-posterioranterior-gait-trainer-842.html | Anterior or posterior | -Useful for patients who require a more supportive device | -Available in three sizes including pediatric and adult so weight limit is up to 400lbs-Many accessories available-Height adjustable | -Must chose anterior or posterior when ordering- cannot be changed-Not easily adjusted for less support | ~$750\* |
| Star Posterior/ Comet Anterior gait trainer | http://www.drivemedical.com/index.php/star-posterior-gait-trainer-839.html | Anterior or posterior but cannot be reversed | -Similar to the Luminator but more supportive-Comes with ankle prompts to prevent scissoring | -Available in three sizes including pediatric and adult so weight limit is up to 400lbs-Many accessories available-Height adjustable | -Must chose anterior or posterior when ordering- May not adjust small enough for young patients | ~$990\* |
| MustangGait trainerSnug Seat | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Masters:2015:01:15:20150115-180717:SAM_1465.JPG | Anterior or posterior | -Company recommends use for children with CP.- Center support raises and lowers with movement | -Wide and stable-Adjustable seat for forward tilt if used anteriorly and full upright support if used posteriorly-Variety of additions available including seat | -The largest size accommodates up to 176lbs-Length from 29.25-43 inches-Large space between the child and the environment if used anteriorly | Size 1: $1,935Size 4: $3,260 |
| Pony Gait TrainerSnug Seat |  | Anterior support | -Pelvic and chest support-Anti-scissoring center support-For children requiring increased support | -Four sizes available-Seat lean adjustable-Back support to maintain position-Brakes on casters-Variety of additions available-Bronco is built the same way but has four large wheels | -Does not fold-Can only be used indoors-Largest size accommodates up to 165lbs-Heavy frame-Small wheels | Pony size 0: $2,325Pony size 3:$2,675Bronco size0: $2,645Bronco size2: $2,750 |
| GrilloInnovation In Motion | http://www.mobility-usa.com/grillo.htm | Anterior or posterior | - High level of support with pelvis and chest supports and harness-4-wheels | -Available in two sizes for anterior options and two sizes for posterior option-Foldable for transport-Tilt option available-Height is highly adjustable to allow for growth | -Largest size only accommodates 198lbs-Cannot easily be adjusted for less support | Size one/two: $1,950Size five: $2,700 |
| Mulholland Walkabout | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Masters:2015:01:15:20150115-180717:SAM_1466.JPG | Posterior | -Considered a dynamic stander and weight-relieving gait-trainer because it moves up and down with ambulation-Designed to be used by individuals who cannot fully bear weight through LEs | - The device separates into pieces for transport-The length of the based can be adjusted and the-All four wheels come with standard swivel locks-The spring can be adjusted to alter weight relief- Comes in four different sizes-The center column can tilt for additional accommodation | - The largest size does not accommodate more than 140lbs and weights 45lbs. | 3D Junior Model $1,7943/4C Junior $4,2574C Adult $4,257 |
| Gait MasterMulholland | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Previews:2015:01:15:20150115-180717:V1R4x9AkTDm6DQ61veqH1Q:SAM_1468.jpg | Posterior support | - A more supportive option. Supports thorax and pelvis for patients who require postural assistance.- The system lifts to reduce weight bearing throughout gait | -The device is foldable-Available in two sizes with no-back breaks on the rear casters.-Recommended weight limit for the larges size of 200lbs | -May not come in small enough option for young children-Cannot easily be adapted to become less supportive if the child improves. | Child frame ~ $2,602\*Adult Frame~ $3,025\* |
| MeywalkMeyland-Smith | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Previews:2015:01:15:20150115-180717:PWrTSY4bQU6hnrFa8VZ1YA:SAM_1469.jpg | Anterior | -Spring-suspended gait trainer-Comes with trunk support and seat for increased stability | -5 sizes available-Many accessories available for customization-Can be used outdoors but is primarily for indoor use-Largest size accommodates 100kgs-Hand-bar can be adjusted for patient comfort and needs | -Cannot easily be adjusted to allow for minimal support-Smallest size is recommended for children age 6 | Miniwalk I: $2,997Meywalk 2000 Large: $3,795Meywalk MK4 Medium$4,314 |
| KidwalkOttobock | Macintosh HD:Users:maelangford:Pictures:iPhoto Library.photolibrary:Previews:2015:01:15:20150115-180717:%goo13r5Q4C8kH0zpnBrRg:SAM_1472.jpg | Posterior | -Considered a dynamic walking aid-Pelvis and torso support for standing-Useful for dystonia, spasticity, and hypotonia | - Can be used outdoors and adjusted without tools-Child can push wheels like a wheelchair and move forward while moving feet-When not pushing wheels, hands are free-Can alter tilt and device moves up and down with movement-Many accessories available | -Cannot be adjusted to be less supportive-The largest of two sizes does not accommodate more than 90lbs-Does not fold. | KidWalk: $2,795KidWalk II: $3,395 |

The information presented here was found in manufacturer catalogs and on manufacturer websites. Devices are generally printed in order from least supportive to most supportive.

\*Cost reflects most recent information available through various online ordering sources

This information was collected in the spring of 2015. Cost and device options will likely change in future years.