Quick Reference Guide: Cranial Molding Devices in the NICU

| Device | Image | Description | Advantages | Contraindications | Infant Weight/Age | Evidence-Based Support |
| --- | --- | --- | --- | --- | --- | --- |
| Body Positioning Devices |  |  |  |  |  |  |
| Frederick T. Frog http://www.usa.philips.com/healthcare/product/HC989805603341/frederick-t-frog-positioning-aid |  | Frog-shaped device that contains polyethylene beads to provide weighted boundaries for the trunk, head, and extremities Specific uses for cranial molding: Prevent cervical extension in prone, maintain midline head orientation in supine, and promote stability and containment of the head in side-lying | Covers can be disposable or machine washable Beads are adjustable to achieve desired position | Full weight of device (456.3 g) should not be placed on infant | Not specified | None available |
| Flo Fluidized Neonatal Positioner by Mӧlnlycke Formerly a product of Sundance Solutions https://www.molnlycke.us/products-solutions/molnlycke-z-flo-fluidized-positioner-neonatal/ |  | A fluidized, mattress-like device that supports the infant’s entire body and can be molded to provide developmentally supportive positioning in supine, side-lying, or prone | Fluid has “zero flow” from gravity, allowing contoured support for the desired position Available in multiple sizes | Choose appropriate size based on weight and activity level | Medium: preterm infants <1500 g if active or <1800 g if inactive or swaddled Large: active preterm infants 1500-1800 g; all larger infants | None available |
| Dandle ROO http://www.dandlelionmedical.com/products/dandle-roo/ |  | A containment device made of stretchable cotton that creates a womb-like environment by allowing extension of the extremities while providing a gentle force to return the body and head to midline flexion Not specifically indicated for cranial molding, but provides containment to the head in supine, prone, and side-lying positions | Available in multiple sizes Can be washed and reused | Not specified | Designed for preterm infants Weight not specified. | In a survey of NICU clinicians, the Dandle ROO was identified as the “ideal method of neonatal positioning” by 62% of nurses and 86% of therapists, and it was named the easiest method of positioning to utilize in the NICU by 44% of nurses and 57% of therapists.1 |
| Nurture Rest NICU Baby Sleep Positioner https://www.neonatallovingkare.com/index.php/products/nurture-rest |  | A sleep positioner for positioning premature, low-birth-weight infants in prone. This product provides unique ‘kangaroo care’ positioning. | Cover is machine washable Allows for prone positioning with use of ventilator Intended to promote proper alignment of the head, neck, and spine | Not specified | Designed for micro preterm infants | None available |
| Head positioning Devices |  |  |  |  |  |  |
| Gel-E Donut http://www.usa.philips.com/healthcare/product/HC92025/gel-positioning-aids-family-of-gelfilled-infant-positioning-products |  | A round, gel-filled pillow used to promote skin integrity and prevent cranial molding deformities due to prolonged immobility | Available in multiple sizes Disposable covers | Redesigned with a non-porous skin in 2015 following concerns of mold | Not specified | A study comparing interface pressures of various pediatric support surfaces found that a foam overlay alone and in conjunction with the Gel-E Donut produces the lowest occipital pressure in infants <2 years of age.1 The Gel-E Donut alone is less effective at decreasing occipital pressure than when used in combination with the foam overlay.1 |
| Fluidized Utility Positioner by Mӧlnlycke Formerly a product of Sundance Solutions https://www.molnlycke.us/products-solutions/molnlycke-z-flo-fluidized-positioner-neonatal/ |  | A fluidized, pillow-shaped device that supports the infant’s head, neck, and shoulders while in the supine, side-lying, or prone position | Fluid has “zero flow” from gravity, allowing contoured support for the desired position Available in multiple sizes | Not Specified | Not Specified | A randomized controlled trial found that rotating between the fluidized utility positioner and the cranial cup device is associated with decreased development of deformational plagiocephaly in the NICU compared to use of the fluidized utility positioner alone.2 |
| Tortle Midliner https://tortle.com/medical/tortle-midliner/ |  | A soft, lightweight beanie with two adjustable support rolls and a Velcro front opening Used to prevent head preference issues and cranial asymmetry in supine, side-lying, and prone positions | Available in multiple sizes based on head circumference Does not have to be removed for x-rays, ultrasounds, scalp IV’s, or EEG monitoring | Designed for premature infant use until the infant graduates from NICU warm to open bassinet | ≤ 2500 g | None available |
| Tortle Air https://tortle.com/product/tortle-air/ |  | A soft, lightweight beanie with one adjustable support roll and a Velcro front opening Used to prevent head preference issues and cranial asymmetry in supine, side-lying, and prone positions | Does not have to be removed for x-ray | Not specified | Birth to 1 month 13-15in head circumference | None available |
| Cranial Cup, commercially sold as the Crown Cradle Previously sold as the Cuddle Cup by Boston Orthotics and Prosthetics http://www.dandlelionmedical.com/products/crown-cradle/ |  | An orthotic device made up of a plastic base overlaid with up to four layers of polyethylene foam Contains a concave portion for the head in order to encourage normal cranial development Supports the body in supine and semi-side-lying positions Note that the Cranial Cup is also referred to as the Plagio Cradle and the POD (preemie orthotic device) in literature | Foam layers can be removed to adjust the fit of the device as the infant grows Washable cover | Cannot utilize prone position | Small mattress: <750 g - <1800 g Large mattress: 1800-3600g | A randomized controlled trial found that rotating between the cranial cup and a fluidized utility positioner is associated with increased prevention of plagiocephaly in the NICU compared to use of the fluidized positioner alone.3 A prospective study found that the cranial cup is effective for normalizing head shape in hospitalized premature infants; however, this study did not have a control group for comparison.4 A prospective study demonstrated that the POD was feasible and safe for critically ill, low-birth-weight infants in the NICU. Nursing staff reported favorable responses to the device.5 |

References:

- Zarem C, Crapnell T, Tiltges L, et al. Neonatal Nurses' and Therapists' Perceptions of Positioning for Preterm Infants in the Neonatal Intensive Care Unit. Neonatal Network: The Journal of Neonatal Nursing. 2013;32(2):110-116. doi:10.1891/0730-0832.32.2.110.

- McLane K, Krouskop T, McCord S, Fraley J. Comparison of Interface Pressures in the Pediatric Population Among Various Support Surfaces. Journal of Wound, Ostomy and Continence Nursing. 2002;29(5):242-251. doi:10.1097/00152192-200209000-00007.

- DeGrazia M, Giambanco D, Hamn G, Ditzel A, Tucker L, Gauvreau K. Prevention of Deformational Plagiocephaly in Hospitalized Infants Using a New Orthotic Device. Journal of Obstetric, Gynecologic & Neonatal Nursing. 2015;44(1):28-41. doi:10.1111/1552-6909.12523.

- Knorr A, Gauvreau K, Porter C, Serino E, DeGrazia M. Use of the Cranial Cup to Correct Positional Head Shape Deformities in Hospitalized Premature Infants. Journal of Obstetric, Gynecologic & Neonatal Nursing. 2016;45(4):542-552. doi:10.1016/j.jogn.2016.03.141.

- Knorr A, Giambanco D, Staude MV, et al. Feasibility and safety of the preemie orthotic device to manage deformational plagiocephaly in extremely low birth weight infants. Adv Neonatal Care. 2019;19(3):226-235. doi:10.1097/ANC.0000000000000585